hhh

2023-11-15

Sensitivity, specificity, positive predictive value (PPV), and negative predictive value (NPV) are metrics used to assess the performance of a diagnostic test. These metrics are often presented in a 2x2 contingency table, which summarizes the outcomes of a diagnostic test compared to the true condition of the individuals being tested.

Let’s define these terms and illustrate them using a 2x2 contingency table:

1. **Sensitivity (True Positive Rate or Recall):**
   * Sensitivity measures the proportion of true positives among all individuals who actually have the condition.
   * It is calculated as:
2. **Specificity (True Negative Rate):**
   * Specificity measures the proportion of true negatives among all individuals who do not have the condition.
   * It is calculated as:
3. **Positive Predictive Value (Precision):**
   * PPV measures the proportion of true positives among all individuals who tested positive.
   * It is calculated as:
4. **Negative Predictive Value:**
   * NPV measures the proportion of true negatives among all individuals who tested negative.
   * It is calculated as:

Here’s a 2x2 contingency table for better illustration:

Using this table, the formulas for sensitivity, specificity, PPV, and NPV can be applied based on the counts in each cell.

Remember that these metrics are essential for evaluating the overall performance and reliability of a diagnostic test.